## Common Improvement&Mes. Methods
Improvaments
Ambient Homogenization | Heater and Fans
Isolation | Polystyrene and Polyurethane
Flow Equalizer | By adding grid to pipe
Flow Controller | Flow meter feed back
Coolant measurement | Temp sensor at the coolant in/out
Increasing amount of temp. sensor in the ambient | Average distribution of temp.
For resistive temp sensor-> 4 wire conection
DC load calibration
Pre heating the ambient
Measurement Methods
Temp. measurement at inlet&outlet
Ambient measurement
Using 2 Container one contains DUT, other one contains DC load