## Slide 1: Calorimeter Design

## Slide 2: Assumptions
Qloss
Air is ideal gas why? => Compressibility factor(Z) is around 1 between 250-300K
du = dq - dW and dW=Pdv
U=U(Q,V) differentiate => for dv=0 =>
Another thing=> internal energy of ideal gases depends only temperature
du=dWein-dWeout-dQwall-loss => CvdT/dt=Pin-Pout-Pwall-loss
Using Newton’s cooling law dT/dt= kΔT =>Pin-Pout=kCv ΔT +Pwall-loss
Constant volume
Constant ambient is constant
System
Pin
Pout

## Slide 3: Assumptions
Qloss
No accumulation of air =>Control Volume process
No KE and PE change => Steady State Flow
Then dQwall-loss + dWein-dWeout=m*dh where dh=du+Pdv+VdP and dv=0 no change in volüme
P=RT/V => dP=R/V*dT and du=CvdT if we put this into above eq. => dh=(Cv+R)dT=CpdT
Eventualy => Ploss=mCpΔT+Pwall-loss
System
Pin
Pout
Air in
Air out

## Slide 4: Proposed Methods

## Slide 5: Errors

## Slide 6: Conclusion&Remarks
A major error source of all calorimeter types is heat leakage through the walls of the calorimeter.
Volume and response time are inversely proportional.
In higher volume container, air diffuse heterogeneously.
Heating foils are being used for to diffuse the air in the gap between inner and outer cases.
Heat capacity changes with changing in temperature, humidity, volume flow.

## Slide 7: Combined Method